# Product Data Sheet

Equal Tee LM100 400 R3 PC1

Reference MLF1155PC1

# Base

Activity Product family Brand

Range

Cable support systems Cable ladders

Mita Flex

This information is meant as an indication and cannot be used to ensure fitness with any solution. This file is subject to change, for detailed information, please contact our Customer Service.

Activity	Cable support systems

Product family	Cable ladders

Brand	Mita

Range	Flex

GTIN	7321678030124

# Commercial and Web

Short description	Equal Tee LM100 400 R3 PC1

Medium description	Equal Tee LM100 400 R3 PC1

Length	1300 mm

Width	858 mm

Height	100 mm

Material	GRP

Material type or surface treatment	PC1

Environmental corrosion class	CX

# ETIM (EC001540-Tee for cable ladder)

Type of side joist (EF007666)	Profile (open)

Type of rung (EF001060)	Perforated profile

Cable ladder height (EF004818)	100 mm

Cable ladder width (EF004817)	400 mm

Cable ladder branch width (EF004816)	400 mm

Symmetrical model (EF006521)	Yes

This information is meant as an indication and cannot be used to ensure fitness with any solution. This file is subject to change, for detailed information, please contact our Customer Service.

Inner radius (EF004793)	300 mm

Model (EF000010)	Without connector

Wide span model (EF006397)	*

Suitable for circuit integrity	No (EF007806)

Material (EF002169)	Other

Material quality (EF001257)	GRP (Glass fibre reinforced plastic)

Surface protection (EF000139)	Other

Colour (EF000007)	Grey

RAL (EF000116)	7047

# Logistic

Customs code	39169010

Net weight	6.8 kg

Country of origin	Malaysia

# Certification

ETIM class	EC001540

# Status product

Product status	Commercialized

# For the latest information check http://wibe-group.com/brand/mita/equal-tee- lm100-400-r3-pc1