# Product Data Sheet

Lid warning sign 300mm 2500V 6m PY1

Reference  GRC300KV256MPY1

# Base

Activity Product family Brand

Range

Cable support systems Cable trays

Mita Cabsys

This information is meant as an indication and cannot be used to ensure fitness with any solution. This file is subject to change, for detailed information, please contact our Customer Service.

Activity	Cable support systems

Product family	Cable trays

Brand	Mita

Range	Cabsys

GTIN	7321678010287

# Commercial and Web

Short description	Lid warning sign 300mm 2500V 6m PY1

Medium description	Mita - Lid warning sign 300 mm 2500V - L=6 m - GRP PY1

Length	6000 mm

Width	300 mm

Material	GRP

Material type or surface treatment	PY1

Environmental corrosion class	CX

# ETIM (EC002403-Cover for cable support system)

Cover width (EF005146)	* mm

Material thickness (EF000386)	* mm

Suitable for cable tray (EF005166)	*

Suitable for wire mesh tray (EF005163)	*

Suitable for cable ladder (EF005165)	*

This information is meant as an indication and cannot be used to ensure fitness with any solution. This file is subject to change, for detailed information, please contact our Customer Service.

Length (EF001438)	* mm

Type of fastening (EF002442)	*

Suitable for circuit integrity	* (EF007806)

Material (EF002169)	*

Stainless steel, pickled (EF006388)	*

Material quality (EF001257)	*

Surface protection (EF000139)	*

Colour (EF000007)	*

RAL (EF000116)	*

# Logistic

Pack 1 type	Each

Quantity pack 1	1

Weight pack 1	13 kg

Length pack 1	6000 mm

Width pack 1	300 mm

Height pack 1	3 mm

Customs code	39169010

Net weight	13 kg

Country of origin	GB

# Certification

ETIM class	EC002403

BS 476 - Part 7 1997	Passed

BS EN 60695-2-12 2001	Passed

UL94 V0	Passed

UL94 5VA	Passed

# Status product

Product status	Commercialized

# For the latest information check http://wibe-group.com/cable-support- systems/cable-trays/covers/lid-warning-sign-300mm-2500v-6m-py1