Change logo

#### FRP PERFORATED TYPE CABLE TRAY

FRP LADDER TYPE CABLE TRAY

| Width (mm) | Height l (mm) | ength (m) | Colour | Resin Type | Accessories |
| --- | --- | --- | --- | --- | --- |
| 50 | 50 | 3 or as per Customer's requirement | Grey White or others | Polyester / Vinyl Ester | Bend,Tee, Cover, Cross |
| 100 | 50/ 100 |  |  |  |  |
| 150 200 300 400 | 50 50/ 100 50/ 100 50/ 100 |  |  |  |  |
| 450 | 100 |  |  |  |  |
| 500 | 100 |  |  |  |  |
| 600 | 50/ 100/150 |  |  |  |  |

| Width (mm) | Height l (mm) | ength (m) | Colour | I Resin Type | Accessories |
| --- | --- | --- | --- | --- | --- |
| 100 | 75/ 100 | 3 or as per Customer's requirement | Grey While or others | Polyester I Vinyl Ester | Bend, Tee, Cover, Cross |
| 300 | 75/ 100 |  |  |  |  |
| 400 | 100/ 150 |  |  |  |  |
| 500 | 100/ 150 |  |  |  |  |
| 600 | 100/ 150 |  |  |  |  |
| 700 | 100/ 150 |  |  |  |  |
| 1000 | 100/ 150 |  |  |  |  |
| 1200 | 100/ 150 |  |  |  |  |
| 1400 | 100/ 150 |  |  |  |  |

# Perforated Type

### 45° Horizontal Bend	45° Vertical Internal Bend	45° Vertical External Bend

90° Horizontal Bend	90° Vertical Internal Bend	90° Vertical External Bend

Cross	Tee	Cover

LADDER Type

Smooth Top	Gritted Top Surface	Chequered Plate

45° Horizontal Bend 45° Vertical Internal Bend	45° Vertical External Bend	90° Horizontal Bend

### Plain Surface	Concave Surface	Gritted Top Surface

90° Vertical Internal Bend	90° Vertical External Bend	Cross	Tee

### FRP GRATINGS

Plate

Cover	Offset Reducer

Straight Reducer

PULTRUTED GRATING SURFACE

| H(mm) | w | s | Open Area (%) |
| --- | --- | --- | --- |
| 25 | 15 | 25 | 40 |
| 25 | 15 | 30 | 50 |
| 25 | 15 | 38 | 60 |
| 30 | 15 | 25 | 40 |
| 30 | 15 | 38 | 60 |
| 38 | 15 | 25 | 40 |
| 38 | 15 | 30 | 50 |
| 38 | 15 | 38 | 60 |

•

Application

- Industrial Platform

- Waler and Waste Wa er Plant

- Chemical Storage Tank

- Railway Two Sides Guardrail

- Coastal Guardrail

- Transformer Fencing

f	•	Boundary Fencing

H

t

## Features of FRP Handrails

- High strength

- Light weight

- Superb anti corrosion performance

- Maintenance free

- Electric, heat, and sound insulation

- Easy installation

- UV  protected

- Electronically transparent

- Anti skid/ slip

- Fire retardant

APPLICATION

' .

C-ehannel

'

•

Range:

•

I-beam

Angle

Square

VISION

Krlza concentrates on to become w or ld   best   ma nufa c t ur ed in FRP/GRP Products.

##### Pharma & Chemical

Oil & Gas

Petrochemical

& Refineries

Textile

Kriza

FRP Cable Tray

L

<f}'t{I'	Infrastructures

##### On Shore & Off Shore

Power Plant

- Real Estate